MONTHLY FIRE PREVENTION

INSPECTION CHECKLIST

Name of Facility:  ______________________________	Date:  _________________

Conducted By:  _________________________

|  | YES | NO | N/A |
| --- | --- | --- | --- |
| HOUSEKEEPING |  |  |  |
| Is there any obstruction or impediment in the path of the normal or emergency exit? |  |  |  |
| Are there any accumulations of trash, debris, or waste? |  |  |  |
| EXIT SIGNS |  |  |  |
| Are all ‘EXIT’ doors provided with an ‘EXIT’ sign? |  |  |  |
| Are all ‘EXIT’ signs illuminated? |  |  |  |
| EMERGENCY LIGHTING |  |  |  |
| While activating the ‘TEST’ button, do all the bulbs on the emergency light unit illuminate? |  |  |  |
| While activating the ‘TEST’ button on the emergency light unit for a duration of 30 seconds, is there any reduction in the level of illumination? |  |  |  |
| FIRE EXTINGUISHERS |  |  |  |
| Are all portable fire extinguishers in their place, unobstructed, easily visible, and readily accessible? |  |  |  |
| Does the gauge on all the portable fire extinguishers indicate that they are full and charged? |  |  |  |
| Are all portable fire extinguishers properly identified and tagged with current annual inspection tags? |  |  |  |
| Is the pin secured in the control handle of the portable fire extinguishers by an unbroken plastic seal or equivalent? |  |  |  |
| ELECTRICAL PANELS/COVERS |  |  |  |
| Are childproof plastic covers for electrical outlets properly installed on all accessible outlets or equivalent? |  |  |  |
| Is there a minimum of three feet of clearance from all electrical panels? |  |  |  |
| Is your electrical inspection sticker current? (Electrical inspection required every three years.) |  |  |  |
| FIRE ALARM SYSTEM |  |  |  |
| Is the fire alarm system in ‘Normal’ operating status? |  |  |  |
| Is the fire alarm system tagged with a current annual inspection tag? |  |  |  |
| AUTOMATIC SPRINKLER SYSTEM |  |  |  |
| Is the automatic sprinkler system tagged with a current annual inspection tag? |  |  |  |
| Are all automatic sprinkler valves shown to be open and are the chains and padlocks securely fastened? |  |  |  |
| Smoke Alarms/Carbon Monoxide Detector(s) (Family/Group Day Care Home Only) |  |  |  |
| Are rooms used as sleeping areas equipped with “hard wired” smoke alarms? |  |  |  |
| Are all smoke alarms/carbon monoxide detector(s) operational? |  |  |  |

FIRE DRILL:

Date:  _________  Time:  _________  Evacuation Time:  _________  # of Children:  _________

# of Adults:  _________   Exit Used:  Primary or Secondary   (circle one)

Comments:  ________________________________________________________________________