MONTHLY FIRE PREVENTION

INSPECTION CHECKLIST

Name of Home:  ______________________________	Date:  _________________

Conducted By:  _________________________

|  | YES | NO | N/A |
| --- | --- | --- | --- |
| HOUSEKEEPING |  |  |  |
| Is there any obstruction or impediment in the path of the normal or emergency exit? |  |  |  |
| Are there any accumulations of trash, debris, or waste? |  |  |  |
| Are any electrical cords placed underneath a carpet or rug? |  |  |  |
| EXIT SIGNS or Exit Diagram |  |  |  |
| Are all ‘EXIT’ doors provided with an ‘EXIT’ sign or is an exit diagram posted? |  |  |  |
| FIRE EXTINGUISHERS |  |  |  |
| Are all portable fire extinguishers in their place, unobstructed, easily visible, and readily accessible? |  |  |  |
| Does the gauge on all the portable fire extinguishers indicate that they are full and charged? |  |  |  |
| Are all portable fire extinguishers properly identified and tagged with current annual inspection tags? |  |  |  |
| Is the pin secured in the control handle of the portable fire extinguishers by an unbroken plastic seal or equivalent? |  |  |  |
| ELECTRICAL PANELS/COVERS |  |  |  |
| Are childproof plastic covers for electrical outlets properly installed on all accessible outlets or equivalent? |  |  |  |
| Is there a minimum of three feet of clearance from all electrical panels? |  |  |  |
| Is your electrical inspection sticker current? (Electrical inspection required every three years.) |  |  |  |
| FIRE ALARM SYSTEM |  |  |  |
| Are rooms used as sleeping areas equipped with “hard wired” smoke alarms? |  |  |  |
| Are all smoke alarms/carbon monoxide detector(s) operational? |  |  |  |
| Were batteries tested in smoke alarms/carbon monoxide detector? |  |  |  |

FIRE DRILL:

Date:  _________  Time:  _________  Evacuation Time:  _________  Number of Children:  _________

Number of Adults:  _________   Exit Used:  Primary or Secondary   (circle one)

Comments:  ________________________________________________________________________